M-gauge

[image: image1.png]ribbon 2-coil system tin solder

clamp glue

L

AN

substrate



Magneto-elastic strain sensor 

for civil engineering structures  

and geotechnical applications
· High resolution, high sensitivity make the M-gauge ideal for the measurement of strain in reinforced concrete structures. The sensor integrates a Co based amorphous ribbon possessing extremely linear characteristics  and insensitivity to corrosion.

· Typical sensor dimensions 60 mm x 6 mm x 5 mm (length x width x thickness) including pads.              Other sensor/coils dimensions possible. 

· The strain sensor provides a full range exceeding 2500 ppm (0.25 % deformation), a 10 ppm resolution and a 10 Hz bandwidth (with low cost signal conditioning), higher bandwidth available up to  about 100 Hz. 

· Linear temperature coefficient 13.5 10-6 K-1
· [image: image2.png]


The sensor is connected to low cost signal readout unit (allowing for up to 256 sensors), capable of driving very long cables (500 m) with high output signals (10-100 mV). Portable signal conditioning unit has 4 channels readout, includes digital display and a serial interface. 
· [image: image3.png]


Typical applications include general purpose dimensional monitoring on structures such as bridges and buildings, also useful in landslides monitoring, tunnels and mines 
M-gauge datasheet

	Uniaxial Strain Sensor
	

	Gauge factor
	> 2500 

	Strain range 
	< 3000 ppm 

	Strain resolution
	Better than 10 ppm 

	Sensor operating Temperature Range
	-30 °C  to +80 °C 

	Temperature coefficient  
	13.5 ( 1 ppm/°C 

	Linearity deviation
	< 1 % with 80 A/m external axial field (1 Oe) 

	Sensor element size
	70 x 6 x 6 mm including pads (W x L x H) weight 10g

	Assembly size for harsh environment
	300 x 30 x 30 mm (W x L x H) weight 500 g

	Pre-loading stress
	Selectable with mounting device

	Mounting
	Bolted or bonded 

	Sealing
	No sealing required

	Corrosion
	Highly resistant to harsh atmospheric conditions

	Digital Readout Unit
	Portable unit LA04

	Number of sensors
	4

	Frequency Range
	DC to 20 Hz per channel, 4 Channels serial readout

	Power consumption
	7 W, supply voltage 6 to 24 V dc 

	Excitation freq. 
	5 kHz

	Operating mode
	2 coils, constant flux 

	Connectors
	RS232 9 pin Serial (sensor), power (+12V center)   

	Interface
	RS485 Serial 

	Maximum dist. from sensor to LA04 unit
	5 m 

	Maximum distance from LA04 unit to PC
	500 m (extendable with repeaters)

	Readout Unit
	Fixed unit IS01

	Number of sensors
	4 per unit, up to 64 units per common bus (256 ch.) 

	Frequency Range
	DC to 1 Hz serial or DC to 10 Hz analog output

	Power 
	5 W per unit, supply voltage 18 to 24 V dc 

	Excitation freq. 
	5 kHz

	Operating mode
	2 coils, constant flux 

	Interface
	RS485 Serial 

	Maximum dist. from sensor to IS01 unit
	5 m 

	Maximum distance from IS01 unit to PC
	500 m 


Contact:

EMCon, s. r. o.

P. O. Box 68

Lamačská cesta 8

810 05 Bratislava

tel/fax: - 421 034 772 6293

email: emcon@emcon.sk

http://www.emcon.sk

Institute of Physics SAS

Department of Metal Physics

Dúbravská cesta 9

845 11 Bratislava

tel: - 421 2 5941 0561

email: fyzisvec@savba.sk

http://www.savba.sk/rq

Developed within the framework of the NATO Science for Peace Programme 973649

�





�





� EMBED PBrush  ���IS01- Multichannel fixed readout unit with serial IF with up to 256 sensors 





�





�


LA04. Portable 4-channel unit with display 


and RS485 interface; application in harsh environment (tunnel Višňové)














[image: image4.png]


[image: image5.png]


_1111410210

